## Data
SEL | SEL |  |  | SEL | SEL | SEL | SEL | SEL |  |  |  | SEL | [10 empty] | SEL |  |  | SEL |  | SEL | SEL |  | SEL | [17 empty] | SEL |  |  | SEL | SEL | SEL |  |  | SEL | SEL | SEL | [11 empty] | SEL | SEL |  |  |  |  | SEL |  |  | SEL |  |  |  |  | SEL | SEL | SEL | SEL | SEL | SEL | SEL | SEL | SEL | SEL | [5 empty] | SEL |  | SEL |  |  |  | SEL | SEL | SEL | SEL | SEL | SEL | SEL | SEL | SEL | [10 empty] | SEL | SEL |  |  |  | SEL | SEL |  |  | SEL
Tag Name | Tag Description | Site Code | Site Name | Plant Code | Plant Name | Area Code | Area Name | Manufacture | Model Number | Serial Number | Corrosion Loop Name | Datasheet No | Parent tag name | Criticality Rating | Seismic category | Application | ATEX Category | ATEX Explosive Atmosphere | ATEX Group | Bearing RTD Required Per Winding | Bearing Type DE | Bearing Type NDE | Cable Entry | Cooling Time Constant | DE Bearing | DOR | Driver Enclosure | Duty | Efficiency | Electric Motor Bearing Lubrication | Electric Motor Cooling Method | Exciter BRG DE | Exciter BRG NDE | Exciter Cooling | Exciter Insulation Class | Exciter KVA | Exciter KVA UOM | Exciter Make | Exciter Model | Exciter Output Current | Exciter Output Current UOM | Exciter Output Voltage | Exciter Output Voltage UOM | Exciter Winding Connection | Excitor Amp | Excitor Amp UOM | Excitor Voltage | Excitor Voltage UOM | Explosion Protection Concept | Explosion Protection Examination Certificate Number | Explosion Protection Notified Body | Explosion Protection Temperature Class | Frame Size | Gas Group | Grease Facility | Heating Time Constant | Ingress Protection | Instrumentation Cable | Insulation Class | Locked Rotor Withstand Time (100% Volts) Hot & Cold | Locked Rotor Withstand Time (100% Volts) Hot & Cold UOM | Locked Rotor Withstand Time (80% Volts) Hot & Cold | Locked Rotor Withstand Time (80% Volts) Hot & Cold UOM | Magnetizing Reactance @ 20°C | Magnetizing Reactance @ 20°C UOM | Magnetizing Resistance @ 20°C | Magnetizing Resistance @ 20°C UOM | Minimum Accelerating Torque (Motor & Load) @ 80%Volts | Minimum Accelerating Torque (Motor & Load) @ 80%Volts UOM | Motor Greasing Details – Name of Grease | Motor Type | Mounting Arrangement | MTB Position | NDE Bearing | No Load Current | No Load Current UOM | Number of Electrical Phases | Number of HFCT Installed | Number of Starts Per Hour | Power Factor (Starting) | Pull-Out Torque | Pull-Out Torque UOM | Rated Amp | Rated Amp UOM | Rated Frequency | Rated Frequency UOM | Rated Output Power | Rated Output Power UOM | Rated Power Factor (Lagging) | Rated Speed | Rated Speed UOM | Rated Voltage | Rated Voltage UOM | Re-Acceleration Scheme (Yes/No) | Rotor Reactance @ 20°C | Rotor Reactance @ 20°C UOM | Rotor Resistance (Ac) @ 20°C | Rotor Resistance (Ac) @ 20°C UOM | RTD Required Per Winding | Run-Up Time (Motor & Load) (100% Volts) Hot & Cold | Run-Up Time (Motor & Load) (100% Volts) Hot & Cold UOM | Run-Up Time (Motor & Load) (80% Volts) Hot & Cold | Run-Up Time (Motor & Load) (80% Volts) Hot & Cold UOM | Service Factor | Shaft Orientation | Size Control Cable | Size Control Cable UOM | Size Power Cable | Size Power Cable UOM | Space Heater | Space Heater UOM | Starting Current | Starting Current UOM | Starting Method | Starting Torque | Starting Torque UOM | Stator Leakage Reactance @ 20°C | Stator Leakage Reactance @ 20°C UOM | Stator Reactance @ 20°C | Stator Reactance @ 20°C UOM | Stator Resistance (AC) @ 20°C | Stator Resistance (AC) @ 20°C UOM | Temperature Ambient | Temperature Ambient UOM | Temperature Rise | Temperature Rise UOM | Thermocouples Required Per Winding | Transportation Weight | Transportation Weight UOM | Type Exciter | Type of Electrical Current Supply | Type of Painting | Winding Connection | Tag Requisition Number | Purchase Order Number | Purchase Order Date | PO Delivery Date | Equipment Actual Installation Date | Equipment Actual Startup Date | Equipment Warranty End Date
[36 empty] | KVA |  |  |  | AMP |  | VOLT |  |  | AMP |  | VOLT | [12 empty] | SEC |  | SEC | [12 empty] | AMP | [5 empty] | KG M |  | AMP |  | Hz |  | KW |  |  | RPM |  | VOLT | [7 empty] | SEC |  | SEC |  |  |  | SQ.MM. |  | SQ MM |  | KW |  | AMP | [10 empty] | Deg C |  | DEG C |  |  | KG
MP- PP031-M 600173A/ B | Approved.Pump Motor Datasheet for Recycled water pump (10kg/cm2g) | Revise | EQUIPMENT NO.: |  | 1000 KTA POLYVINYL CHLORIDE (PVC) |  |  | TEFC IC411F (Temp. rise limited to class ‘B’)CG Power and Industrial Solutions Limited | - 3 PHASE AC SQUIRREL CAGE INDUCTION MOTOR IE2 | 9975714953-100 |  | N23P01-D11NPP-MPP001-TPD-P-04-031-D02-008 | MP-PP031-M600173A/B |  |  | Pump Motor Datasheet for Recycled water pump (10kg/cm2g) Tag No. MP-PP031-M600173A/BMP-PP031-M700173A/B |  |  |  |  | SKF/FAG 6314-C4 grease qty, 70 gram | SK F/FAG 6314-C4 grease interval, 2500 Hrs | M63X1.5P |  | SKF/FAG 6314-C4 grease qty, 70 gram | to | IP55 | :- S1 | 93.8 | Grease; UNIREX-N3; grease qty 70 gram; interval 2500 Hrs | TEFC | [17 empty] | :- IP55 (NOTE 2.) Differential CT's: | Not ApplicableMT-N23P01-D11NPP-MPP001-TPD-Q-04MP-PP031-M600173A/B | Not Applicable | :- NA Thermocouples Req.: Yes No | - ND280S | :- NA No. |  | 60 | IP55 | 2CX2.5Sq,mm | F (Temp. rise limited to class ‘B’) | Hot: 15 / Cold: 30 | secs | Hot: 23 / Cold: 47 | secs | 0.0003007 |  | 0.0000416 |  | 158.4 | % FLT | UNIREX-N3 |  | B3 | Cable | SK F/FAG 6314-C4 grease interval, 2500 Hrs |  |  | 3 |  | :- 2/3 (Considering load GD²=Motor GD²) | 0.42 | 300 | % FLT | 124.00 | Amps | 50 | Hz | 75 | kW | 0.9 | 2972 | rpm | 415 |  |  | 0.0000036 / 0.00000003 |  | 0.0000018 / 0.00000182 |  |  | Hot: 1.2 / Cold: 1.2 | secs | Hot: 1.9 / Cold: 1.9 |  | 1 | Horizontal | 2C x 2.5 |  | 2R x 3C x 240 |  | 60 Watts X 2 Nos. |  | 700 | % FLC | DOL | 250 | % FLT | 0.0000042 |  | 0.0000084 / 0.00000008 |  | 0.0000007 / 0.00000066 |  |  | °C | 77 |  |  | 600 | kg |  |  | Applicable standards | Star | Refer |  | 04/05/2025